[image: image1.png]


[image: image1.png]

PNEU-TECH Pool Shower Installation

And Maintenance Instructions

Direct Wall Mounting:
1. Tools required for installation: Electric Drill, 5/16” socket and ratchet handle, Bubble level, hammer

2. Remove the PNEU-TECH Pool Shower from the shipping container. DO NOT remove the PNEU-TECH Pool Shower from the mounting board

3. Position the shower and mounting board assembly on the wall in which it is to be installed. Using the Bubble level, ensure that the shower is level in the vertical plane by placing the level against the tube, not the mounting board

4. Once positioning is complete, tap the tube clamp bolts with the hammer using sufficient force to leave indents in the wall. These indents will be used during the drilling of the mounting holes. When complete, remove the shower and mounting board assembly from the wall

5. Install the drill bit provided with this kit into the chuck of the electric drill and tighten. Drill the 8 mounting holes using the indentations created in the previous step. Remember when drilling, ensure that the drill is perpendicular to the wall so that the holes are straight. Holes should be drilled approximately ¼” deeper than the bolt penetration

6. Remove the shower from the mounting board. Retain the bolts for installation

7. Place the shower and the bottom half of the top clamp against the wall, then capture the shower with the top half of the clamp, insert bolts and tighten. DO NOT OVERTIGHTEN. Snug the clamp so that the shower can twist and slide for adjustments to height and alignment

8. Install the remaining clamps using the retained bolts. Once all clamps are snug, adjust alignment and height as desired. When adjustment is complete, tighten all fasteners wrench tight so that the shower is secured with no movement

9. Clean installation area of all debris upon completion

Pool Screen Enclosure Mounting:
1. Tools required for installation: 7/16” open end wrench

2. Remove the PNEU-TECH Pool Shower from the shipping container. DO NOT remove the mounting brackets from the PNEU-TECH Pool Shower

3. Thread the side mounting 1/4-20 bolts into the bracket until the head is flush against the threaded insert for each bracket

4. Position the shower on the vertical enclosure beam chosen for mounting and hold at desired height, then snug the top mounting bracket onto the vertical beam by threading the side mounting 1/4-20 bolt until the bolt head is flush with the beam.

5. If the remaining mounting brackets encounter interference with screen enclosure fasteners, slightly loosen the tube clamp bolts and slide the clamp/bracket assembly up or down as required, then re-tighten the clamp bolts

6. When all clamp/bracket assemblies are in place, snug all remaining side mounting 1/4-20 bolts until the bolt head is flush with the beam

10. Tighten all side mounting 1/4-20 bolts wrench tight using the 7/16” open end wrench so that the shower is secured with no movement

Maintenance

The PNEU-TECH Pool Shower is easily maintained due to it’s construction of stainless steel and brass components. If slight corrosion appears on tubing, fittings or components, simply use a polishing compound (such as Brasso, Never Dull, etc.) to clean and shine the area. Wipe excess polishing compound from shower components to restore shine.

Shower head cleaning: Unscrew bell – remove o-ring and water dispersal plate, remove debris, reassemble – secure unit with Allen Wrench on the threaded end if necessary.

Warranty

PNEU-TECH Incorporated warrants (to the original purchaser) the PNEU-TECH Pool Shower to be free from defects in materials and workmanship under normal use, and we agree to repair or replace any part or parts which may thus prove defective under normal use for the life of the product.. Any modification of this product will render this lifetime warranty null and void and all subsequent repairs will be charged a fee for parts and/or labor.












































































Pneumatics • Propellants • Cryogenics

Engineering • Fabrication • Installation

Aerospace • Commercial


_1175356687

